## FX-SW-HAZ MONITOR
Price List Effective 06/01/2020 Rev. 3.1
Work your part number from left to right always ==>
|  | DISPLAY |  |  | FX12 | 0
4:3 |  | FX12 | 12.1" TFT SVGA (800x600) Flat Panel LCD |  | FX15 | 0
|  | FX15 | 15" TFT XGA (1024x768) Flat Panel LCD |  | FX17 | 0
|  | FX17 | 17.1" TFT SXGA (1280x1024) Flat Panel LCD |  | FX19 | 0
|  | FX19 | 19" TFT SXGA (1280x1024) Flat Panel LCD |  | SW12 | 0
16:9 |  | SW12 | 12.1" WXGA (1280x800) Widescreen Flat Panel LCD |  | SW15 | 0
|  | SW15 | 15.6" FHD (1920x1080) Widescreen Full HD Flat Panel LCD |  | SW19 | 0
|  | SW19 | 18.5" FHD (1920x1080) Widescreen Full HD Flat Panel LCD |  | SW22 | 0
|  | SW22 | 21.5" FHD (1920x1080) Widescreen Full HD Flat Panel LCD |  | SW24 | 0
|  | SW24 | 24" FHD (1920x1080) Widescreen Full HD Flat Panel LCD
BEZEL
|  | P | NEMA 4 Powder Coated Black Texture Finish, Panel Mounted Milled Aluminum Bezel
|  | S | NEMA 4X Stainless Steel, Panel Mounted
LENS
|  | L | Protective Polycarbonate Lens Non Touchscreen |  | L
|  | T | Analog Resistive Touchscreen |  | T
TOUCH SCREEN CONNECTION
|  | N | No Touchscreen Connected
|  | S | Serial Output Connection - Serial Cable Included
|  | U | USB Output Connection - USB Cable Included
MONITOR CHASSIS
|  | HA | Monitor Chassis, 100~240VAC Power - 3-Pin Quick Disconnect Approved for Haz Loc
|  | HD | Monitor Chassis, 24VDC Power Entry - 3-Pin Quick Disconnect Approved for Haz Loc
VIDEO INPUT
|  | R | RGB Analog VGA Input - VGA Cable Included
|  | D | DVI Digital Input - DVI Cable Included
HAZARDOUS LOCATION APPROVED
|  | -HAZ | Approved for Class I Division 2, Groups A, B, C, and D; Class II Division 2, Groups F and G, and Class III, T4A Hazardous Locations Must be Installed in a Suitable Enclosure for the Application
Your Order's Details:
Part Number:
| CODE | PART | ORDER DESCRIPTION
| DSP | 0 | #N/A
| BEZ | 0 | #N/A
| LEN | 0 | #N/A
| TCH | 0 | #N/A
| CHS | 0 | #N/A
| VID | 0 | #N/A
| HAZ | -HAZ | Approved for Class I Division 2, Groups A, B, C, and D; Class II Division 2, Groups F and G, and Class III, T4A Hazardous Locations Must be Installed in a Suitable Enclosure for the Application
Please fax your order directly to your LOCAL DISTRIBUTOR or if one is not found in your area, email it to sales@dynics.com
DSP
FX/SW-HAZ MONITOR
Hazardous Location Monitors 4:3 & 16:9
BEZ
LEN
TCH
CHS
VID
Build What You Want ...
... Get What You Need
Click HERE to view datasheet online
HAZ